## Slide 1: Water Supply Network Optimization
Yinyu Ye, Mike Phulsuksombati, Guangjun Su
March, 2017

## Slide 2: Agenda
Overview
  Background
  Water Supply Network Model
Mathematical Model
  Pure flow problem
  Convex Relaxation
  Network Sparsification
Numerical Example

## Slide 3: Background
Non-revenue water (NRW)
  The difference between the volume of water put into a water distribution system and the value that is billed to customers
Physical losses
    Leakage from all parts of the system
    Overflows at the utility’s storage tanks
    Poor operations and maintenance
Non-revenue Water

## Slide 4: Background
Non-revenue Water

## Slide 5: Background
How Much Water is Lost?
 | Supplied Population (millions) | System input (l/capita/day) | Level of NRW (% of system input) | Volume (billion of m3/year)
Developed countries | 744.8 | 300 | 15 % | 9.8
Eurasia | 178.0 | 500 | 30 % | 6.8
Developing countries | 837.2 | 250 | 35 % | 16.1
US$ 14 billion is lost every year by water utilities around the world…

## Slide 6: Water Supply Network
Better Operative Planning?
    Majority of leakage is due to unnecessarily high pressures and water flow in the network
Difficulties
    Hourly demand forecast (at low demand vs. at peak demand)
    Ensure that requested water is transported from the source to the consumers with necessary pressure and flow
    Many related elements
      Pumps
      Valves
      Tanks
      Water sources
      Consumers
The Technical Issues

## Slide 7: Water Supply Network Model
Elements in the Network
Tanks
Can act as both water sources and consumers
Turn open/close
Pumps
Increase pressure at the outgoing end of the pipe
Turn on/off
Valves
Block the flow in the pipe
Turn on/off
Consumers
Have demands and pressure requirements
Water sources
Supply water to the network

## Slide 8: Water Supply Network Model
Objective and Decision variables
Minimizing the total energy loss within the network
      Find the optimal pressures and flow in the network
    Ensure that requested water is transported from the source to the consumers with necessary pressure and flow
Decision variables
      Continuous: - flow in each edge
          - pressure at each node
      Discrete: - to turn off/on each pump
      - to turn off/on each valve
      - to indicate tank as consumer or water source

## Slide 9: Water Supply Network Model
Complexities
The problem features
      discrete and continuous decisions
      nonconvex objective function
    nonlinear constraints
Can be modeled as
      nonconvex mixed-integer nonlinear program (MINLP) [Gleixner et al. 12]
        accurate, but too complex for large problem
      nonlinear program (NLP) [Burgschweiger et al. 04]
        locally optimal solution

## Slide 10: Water Supply Network Model
Main question
Can we model the problem as convex programming ?
      Global optimality
      Fast computation time

## Slide 11: Our Convex Model
Overview
Water supply network is modeled as a directed graph with
      Node: water source, consumer, junction
      Edge: pipe segment
Overview
Predirection
- Find optimal route direction
Convex Relaxation
- Relax the objective and constraint
to be convex
Solution Recovery
- Recover the discrete variable
- Which pumps/values to
turn off/on ?

## Slide 12: Mathematical Model
Objective Function
General Notation
      flow between edge
      - pressure at each node
Minimum Energy Flow
      Energy = pressure flow

## Slide 13: Mathematical Model
Constraints
Flow conservation constraint
      For junction , let and denote the set of incoming and outgoing edges
      incoming flow – outgoing flow = demand (demand is 0 for non-customers node)
Pressure-loss constraint
      Water flow through the network is induced by different pressure level at the nodes
      Darcy-Weisbach equation
where is the loss coefficient due to friction

## Slide 14: Mathematical Model
Model Summary
Minimum Energy Flow
      The objective is convex, but the pressure-loss constraint is nonconvex.
      Therefore, the minimum energy flow problem is nonconvex.

## Slide 15: Mathematical Model
Model Summary (Matrix version)
Minimum Energy Flow
      The objective is convex, but the pressure-loss constraint is nonconvex.
      Therefore, the minimum energy flow problem is nonconvex

## Slide 16: Our Convex Model
Overview
Overview
Predirection
- Find optimal route direction
Convex Relaxation
Solution Recovery

## Slide 17: Predirection
Find the optimal flow direction
Pure Flow Model
      Solve the pure flow problem (ignoring all pressure-related constraints) on the bidirectional graph
      Determine the direction of the flow based on the solution of pure flow problem
      Note that pressure-loss constraint is satisfied due to the optimality condition of our objective. Moreover, the problem is convex.

## Slide 18: Predirection
Example
Solve the pure flow problem on bidirectional graph

## Slide 19: Predirection
Example
Determine the direction of the flow

## Slide 20: Our Convex Model
Overview
Overview
Predirection
Convex Relaxation
- Relax the objective and constraint
to be convex
Solution Recovery

## Slide 21: Convex Relaxation
Relax the pressure-loss constraint
Convex Relaxation Model
      Relax the pressure loss constraint to
      Decision variables:
      Penalty Weighted:
        to adjust the contribution of each objective terms
      Note that the problem above is convex

## Slide 22: Convex Relaxation
Example
Solve the relaxation problem to get flow and pressure

## Slide 23: Convex Relaxation
Example
Some edge will satisfy and some edge will have
Clearly,
for this edge
This actually gives us some useful information about the network!

## Slide 24: Our Convex Model
Overview
Overview
Predirection
Convex Relaxation
Solution Recovery
- Recover the discrete variable
- Which pumps/values to
turn off/on ?

## Slide 25: Solution Recovery
Example
We can recover the discrete decision variable from edges that are not satisfy
If this edge is a valve, the valve should be turn off (0)

## Slide 26: Solution Recovery
Example
We can recover the discrete decision variable from edges that are not satisfy
If this edge is a pump, the pump should be turn on (1) to raise the end node pressure to 1265
This edge does not satisfy
(require some calculation)

## Slide 27: Numerical Example
Real Municipal Water Supply Network
Nodes | 
Reservoir | 20
Tank | 1
Junction | 7,099
Consumer | 846
Edges | 
Pipes | 6,074
Valves | 1961
Pumps | 24

## Slide 28: Numerical Example
Result
 | Pure Flow Problem | Convex Relaxation (w/o adjusting penalty) | Convex Relaxation (adjusting penalty)
2 (Constraint Gap) | 0.3 | 3,752 | 1,359
(Energy) | 270 | 283 | 271
2 (Pressure) | 66,545 | 132,930 | 152,560
1T (Slack) | - | 49,798 | 37,825
 | Pure Flow Problem | Convex Relaxation (w/o adjusting penalty) | Convex Relaxation (adjusting penalty)
 | 0.3 | 3,752 | 1,359
 | 270 | 283 | 271
 | 66,545 | 132,930 | 152,560
 | - | 49,798 | 37,825
The relaxation model get almost the same energy as the pure flow model
  We pay tradeoff the increase in the objective to satisfy the minimum pressure constraint (which pure flow problem does not consider)

## Slide 29: Numerical Example
Since all problems is convex, we can solve them really fast!
  Using convex program solver such as MOSEK, SeDuMi
  To put this into perspective, MINLP formulation solve 88 nodes in 18.2 s (on average)
Recover the discrete variables can be done in linear time
How fast can we solve our model?
 | Small Problem (272 nodes 276 edges) | Large Problem (7876 nodes 8059 edges)
MOSEK | 1.63 s | 7.07 s
SeDuMi | 0.74 s | 13.6 s

## Slide 30: Our Contribution
Convex Relaxation Model for Water Supply Network Optimization
  Pure flow problem
  Convex Relaxation
  Solution Recovery
Thank you for listening!